## Slide 1: IDENTIFICATION TECHNIQUES FOR MICROBES
(LABORATORY TECHNIQUES)
Authors: MUDr. Emil PAVLÍK, CSc., MUDr. Gabriela SMĚLÁ, Mgr. Linda MATOUŠOVÁ, RNDr. Běla POTUŽNÍKOVÁ, MUDr. Miluše KREIDLOVÁ, RNDr. Jan BOBEK
Subject: B-80035 MICROBIOLOGY 1
Date: 23.3.2020
Charles University in Prague – First Faculty of Medicine
Institute of immunology and microbiology
Institute of medical biochemistry and laboratory diagnostics

## Slide 2: GOOD LABORATORY PRACTICE
ISO EN 15189
ISO EN 17025
ECDC GUIDELINES
US CDC GUIDELINES
GB NIPH STANDARDS
LOCAL GUIDELINES
INTERNATIONAL AND NATIONAL LAB. QUALITY CONTROL BODIES

## Slide 3: POSITION OF LABORATORY EXAMINING IN DIAGNOSTICS AND THERAPY OF PATIENT
I

## Slide 4: THE AIM OF VIROLOGICAL DIAGNOSTICS
TO DETECT PRESENCE OF INFECTIOUS AGENT IN THE HOST (patient´s) ORGANISM (in sample collected from)
TO IDENTIFY IT WITH HIGHEST POSSIBLE ACCURACY
(TO DETERMINE ITS SENSITIVITY /RESISTANCE TOWARDS ANTIVIROTICS)
TO DESIGN PATIENT´S THERAPY

## Slide 5: DETECTION OF INFECTIOUS AGENT:
DIRECT:
LIGHT MICROSCOPY
ELECTRON MICROSCOPY
IMMUNOELECTRON MICROSCOPY
SUPER-RESOLVED FLUORESCEN- CE MICROSCOPY
CULTIVATION (CULTURES ON AGARS, LIQUID BROTHS, CELL CULTURE, CHICKEN EMBRYO, ANIMAL AT EXPERIMENT)
DETECTION OF VIRAL ANTIGENIC STRUCTURES
DETECTION OF SPECIFIC SE- QUENCES OF GENOMIC NUCLEIC ACIDS
MASS SPECTROPHOTOMETRY OF PROTEIN PROFILE (MALDI)
INDIRECT:
DETECTION OF SPECIFIC IMMU- NOGLOBULINS CLASS IgM, IgG AND IgA TOWARDS VIRAL ANTIGENIC STRUCTURES (IFA, ELISA…)
DETECTION OF SPECIFIC COMPLEMENT-FIXING ANTIBODIES
HEMAGGLUTINATION ANTIBODY DETECTION
(BIOCHEMICAL EXAMINATION OF PACIENT – CRP, PROCALCITO-NIN, ALT, AST, BILIRUBIN……)
(IMMUNOLOGICAL EXAMINATION OF PACIENT)

## Slide 6: LIGHT MICROSCOPY MAGNIFICATION: 10x to 450x (dry) 1000x (oil immersion)

## Slide 7: LIGHT MICROSCOPY STAINING TECHNIQUES

## Slide 8: ELECTRONE MICROSCOPY IMMUNOELECTRONE MICROSCOPY
Concerning the fact, that only the biggest viruses can be seen at highest magnification of light microscope immersion system (1250x), for viruses observation a special technique - ELECTRONE MICROSCOPY - was developed by Ruska in 1930 ´s.
As example of routine diagnostics rotavi- rus detection in diarrhoeae stool samples can be presented.
Despite technical progress, smallest viruses are hardly determinable even by electron microscope. In such case we use IMMUNOELECTRONE MICROSCOPY.
In this technique, the virus to be observed is enlarged by binding virus-specific antibodies to antigene determinants of the virion and we observe opsonised virus.
HIV HTLV
INFUENZAVIRUS
Electron Microscopy Working Station
Photos: Rosenthal K.S. et al.: Medical Microbiology and Immunology Flash Cards Mosby/Elsevier 2006

## Slide 9
COMPUTED (SCANNING) ELECTRONE MICROSCOPY

## Slide 10: SUPER-RESOLVED FLUORESCENCE MICROSCOPY
2014 Nobel Prize for Chemistry
Inventors:
Eric BETZIG, Howard
Hughes Medical Institute
Ashburn, Va. USA
Stefan W. HELL, Max-Planck Institute Göttingen, Germany
William E. MORENER, Stanford University, Ca. USA
The Fluorescence Microscopy technique solves the problem of diffraction limits in regular optical microscopy. When we try to visualize individual nano-scale molecules, such as proteins, through optical microscopy, light from each light source diffracts and overlaps to form a diffused image. We need the subject we are observing to be of a significantly lower resolution (fewer and more sparse light sources on the molecule) for the diffraction of light to play a negligible role in resolution.
Resolution limit: 10 nm

## Slide 11: CULTIVATION ON SOLID MEDIA (AGARS)
AGARS:
Diagnostic (blood, nutrient …)
Elective (Endo, DC, Mc Conkey)
Selective (Sabouraud, Löwen- stein-Jensen, bile-aesculin…. )
Bacteria
Fungi

## Slide 12: CULTIVATION ON LIQUID MEDIA (BROTHS, BOUILLONS)

## Slide 13: ADDITIONAL TESTS

## Slide 14: CULTIVATION OF ANAEROBES

## Slide 15: CULTIVATION OF VIRUSES
CELL CULTURES
primary – cells taken directly from organism
secondary lines- cells tranfered from organism into culture flask in which they are cultured by process called passaging
Permanent cell lines – cells passaged for a number of years (decades)
VIRUSES ARE OBLIGATORY INTRACELLULAR PARASITES.
FOR THEIR REPLICATION THEY USE THE HOST CELL ANT ITS MECHANISMS
THEREFOR IT IS POSSIBLE TO CULTURE THEM IN SENSITIVE EXPERIMENTAL ANIMALS,
IN AMNION, ALLANTOIC SAC OR CHORIOALLANTOID MEMBRANE OF CHICKEN EMBRYOS,
OR ON CELL (TISSUE) CULTURES

## Slide 16: CELL (TISSUE) CULTURES
16
Cell suspension is placed to sterile culture flask, in which appropri- ate volume of minimum culture medium (containing nutrients essential for cell metabolism and indicator for necessary change of medium based on colour change when metabolite concentration reapproaches critical value) is added. The flask is sterily closed and incubated at temperature optimal for growth of respective cells (usual 37°C). Colour change indicates need of cell growth control and medium exchange. If the cells form monolayer on the flask wall, culture is ready for infection (picture left)
Inoculum is applied directly on cell monolayer without medium in order to ease the virions adhesion on the cell surface. After a short incubation medium is added, flask closed and transferred into incubator. Incubation time depends on the cultured virus and its pathogenesis (usualy takes several days).
Virus replication generates in infective cell observable virus- characteristic changes –cytopatic effect – CPE.
In case of cytolysis (lytic infection by Herpes simplex virus), the cells may completely disappear and in invesion microscope we observe liting spots to vast lightig areas.(picture bottom left).
Medium contains maturated newly synthetised virions and therefor is highly infectious!

## Slide 17: COMPARISON BY SIZE OF SELECTED VIRUSES BACTERIA ANDIÍ A HEPATOCYTE
BIGGEST(poxvirus) 300x100 nm
SMALLEST (parvovirus) 20 nm

## Slide 18: DETECTION OF VIRAL ANTIGENE USING SPECIFIC ANTIBODY (antiserum)
EARLY PHASE OF VIRAL REPLICATION IN THE HOST CELL IS CHARACTERISED BY UNCOATING OF NUCLEIC ACID AND INTEGRATION OF VIRAL SURFACE ANTIGENES TO RESPECTIVE STRUCTURES OF THE HOST CELL (cell membrane, endosome or nuclear mem- brane …) – see picture right
THIS CAN BE USED FOR DIAGNOSTICS BY DIRECT IMMUNOFLUORESCENCE TECHNIQUE, when sample containing infected cells is fixed to a glass slide, then incubated with labeled anti-serum in a wet chambre in order to bind virus- specific antibodies labeled by FITC on antigene determinants in the host cell. After washing by buffer and contra-stain by 1:20 000 000 Evans Blue dilution and TRIS mounting of cover slide, observing in polarised light of immunufluorescent microscope follows.. Cell structures with integrated viral antigens light by apple- green fluorescence. See Photo right.
Flint S.J. et al.: Principles of Virology
ASM 2005 Figure 5.3

## Slide 19: Molecular Biology Viral Diagnostics Detection Principle: Specific Sequence of Nucleic Acid (target)
Slide: Roche PCR Academy 1993

## Slide 20: FUNCTION OF HYBRIDISATION PROBES
COMPLEMENTARITY OF PURINE AND PYRIMIDINE BASES
The probe does not necessarily need a sugar backbone. Also N-(2-aminoethyl) glycinpolyamide can be used

## Slide 21: AMPLIFICATIONTECHNIQUES
COMPLEMENTARITY OF NUCLEOTIDES GUARRANTIES HIGH SPECIFICITY OF VIRAL NUCLEIC ACID DETECTION. PROBLEM MAY BE IN HYBRIDI- SATION SENSITIVITY, IF VIRAL NUCLEIC ACID MOLECULES NUMBER IN 1 ml OF SAMMPLE DOES NOT REACH 10000.
THEREFOR AMPLIFICATION TECHNIQUES, ABLE TO AMPLIFY ISOLATED NUCLEIC ACID IN VITRO, WERE DEVELOPED.
The oldest technique is PCR – polymerase chain reaction (developed by Cetus Inc., Alameda, CA 1984, published 1987, protected by 17 worldwide patents)
Kary Mullis Henry Ehrlich Randall Saiki
INVENTORS OF THE POLYMERASE CHAIN REACTION
Source: Roche Molecular Systems Inc.

## Slide 22: Amplification by PCR technique
Cycle Amplicon
No. (copy) No.
.
1 2
2 4
3 8
4 16
5 32
6 64
20 1,048,576
30 1,073,741,824
2 cycles = 4 Amplicons
3 cycles= 8 Amplicons
3
6 cycles = 64 amplicons
7 cycles = 128 amplicons

## Slide 23: Pitfuls and Disorders in PCR and their solution
Disorder | Solution
High production of amplicons during PCR reaction means high risk of contamination for the laboratory area by droplets when pipetting, resulting in possible contamination of specimens for testing by previously synthetised nucleic acid making results false positive | Positive Displacement Pipets One-way Roaf Traffic in the Lab (to prevent meeting of samples to be tested with amplified ones) Patent-pendant system of selective amplification AmpErase
Only DNA, not RNA amplified | Recombinantní polymerase rTth Thermus thermophilus functioning as reverse transcriptase enabled RT-PCR
Existence of numerous polymerase inhibitors means risk of false negative results due to inhibition | Implementing of internal control on co- amplification principle (control of proper polymerase function
Qualitative Results only | Implementing quantification on co- amplification principle with quantation calibrator –Roche Amplicor Monitor Implementing Real-time PCR

## Slide 24: Selective Amplification AmpErase®
SampleTarget DNA
Unaffected SampleTarget DNA
contaminating DNA from amplicon
AmpErase®
Unaffected Sample Target DNA
Inactivated contaminating amplicon DNA
Heat,
Basic
pH
Inactivated
AmpErase®
Desstroyed contaminating amplicon DNA

## Slide 25: PCR Alternations – LCR, NASBA, SDA (Ligase Chain Reaction, Nucleic Acid Sequence-Based Amplification, Strand Displacement Amplification)

## Slide 26: GENOTYPING – reverse DotBlot
GENERALY, VIRAL GENOME CONSISTS OF CONSERVATIVE AND VARIABILE PART. WHILE SPECIFIC SEQUENCES OF CONSERVATIVE PART REPRESENT IDEAL TARGET FOR DIAGNOSTIC DETECTION PROBES, BECAUSE THEY UNDERGO SPONTANEOUS MUTATIONS VERY RARELY, IN VARIABILE PART ARE MUTATIONS FREQUENT.
ACCORDING TO FREQUENCY OF CERTAIN MUTATIONS, IT IS POSSIBLE TO DETERMINE A NUMBER OF TYPES AND SUBTYPES WITH SLIGHTLY DIFFERENT PROPERTIES (LIKE CERTAIN DRUG RESISTENCE) WITHIN ONE VIRAL SPECIES.
FOR GENOTYPING, SO CALLED IMMUNOBLOT TECHNIQUES ARE USED.
HYBRIDISATION PROBES FOR SPECIFIC DETECTION OF CERTAIN MUTATIONS ARE IMMOBILISED ON A NYLON STRIPE – SEE PICTURES
Position Control (black line) serves for proper identifi- cation of hybridisation results when reading at the end of the test.

## Slide 27: GENOTYPING - DOTBLOT
SLIGHT DISADVANTAGE OF BLOT TECHNIQUES PRESENTS A NEED OF INCUBATION AT CERTAIN ACCURATE TEMPERATURE WITH CONTINUOUS MOVEMENT OF BUFFER (shaking). Corresponding equipment – WATER BATH SHAKER requires a relatively hIgh financial investment.
Nylon stripe carrying hybridisation probes is placed in a well of plastic tray. Needed amount of binding buffer is added and sample consisting of previously amplified and denatured DNA amplicons is applied. Plastic tray is than layed on the water level in the shaker, and aft switching on and seting the instrument hybridisation starts while gentle shaking.
After incubation is completed, binding buffer saucced off from the well, the well containing the stipe throughroughly washed, conjugate buffer is added and a new round of incubation starts while continuous shaking.
After conjugate sauccing off and well-washing, substrate (TMB) buffer with H2O2 is added. Within 10 minutes, a colour reaction develops on those hybridisation probes, on which a a complementary amplicon hybridised
After finnishing last incubation residual substrate is saucced off, stripes taken out and dried.

## Slide 28: GENOTYPING - DOTBLOT
ALL DRIED NYLON STRIPES ARE PLACED ON A FLAT SURFACE WITH BLACK MARK FORMING CONTINUOUS LINE IN ORDER TO QUARRANTIE PROPPER READING.
FOR POSITIVE SEQUENCE IDENTIFICATION (blue lines - picture) CAN BE USED TRANSPARENT FOIL PROVIDED BY THE TEST MANUFACTURER
OR A SPECIAL SCANNER CONNECTED TO PC EQUIPED WITH AN IDENTIFICATION PROGRAMME.

## Slide 29
SOUTHERN BLOT, NORTHERN BLOT

## Slide 30: REAL TIME POLYMERASE CHAIN REACTION
REAL-TIME PCR TECHNOLOGY HAD BEEN DEVELOPED AS EARLY AS IN 1991
DEVELOPMENT OF INSTRUMENTATION FOR ROUTINNE TOOK 10 MORE YEARS
THEREFOR, ENTRY OF THIS TECHNIQUE TO ROUTINE DIAGNOSTIC LABORATORIES HAS STARTED AFTER THE YEAR 2000.
METHOD IS BASED ON 3´ EXONUCLEASE ACTIVITY OF DNA-POLYMERASE AND FLUORE- SCENCE RESONANCE ENERGY TRANSFER (FRET) BETWEEN 2 FLUOROFORS LABELLING SPECIFIC HYBRIDISATION PROBES.
As seen on picture, HYBRIDISATION PROBE ANNEALS AT THE SAME TEMPERATURE AS PRIMERS ON THE SPECIFIC COMPLEMENTARY SEQUENCE AT THE END OF THE AMPLIFIED SECTION OF DNA.
TAQMAN PROBES ARE SHORT SYNTHETIC OLIGONUCLEOTIDES LABELLED BY FLUOROPHORES ON BOTH ENDS. ON 3´ END IS FIXED FLUOROPHOR OF MONITORED WAVELENGHT, ON OPPOSITE END FLUOROPHOR OF LONGER WAVELENTH. BECAUSE OF SHORT DISTAMNCE BETWEEN BOTH FLUOROPHORES, FRET OCCURS, SO THAT THE LIGHT EMITED BY MONITORED FLUOROPHOR IS QUENCHED BY THE FLUOROPHOR EMITING LONGER WAWELENGHT. RAW PROBE/FLUOROPHOR CONFIGURATION DOES NOT CHANGE BY ANNEALING. ONLY WHEN POLY-MERASE ELONGATING STRAND REACHES THE SI- TE WHERE PROBE HAS BEEN ANNEALED, CUTS OFF THE LABELLED NUCLEOTIDE AND REPORTER FLUOROPHOR LIBERATED FROM QUENCHING BY FRET SENDS SIGNAL ROR REGISTRATION.

## Slide 31
LightCycler
real-time
real-time
real-time
real-time PCR
iCycler
BioRad
ABI 7700
Applied Biosystems
PE 5700
Applied Biosystems
FluorTracker
Stratagene
FluorImager
Molecular Dynamics
hardware
RotorGene 6000
Roche
Corbett

## Slide 32
AUTOMATION OF PCR

## Slide 33
real-time
real-time
real-time
LightCycler
Operation
1.
2.
3.
4.

## Slide 34: USE OF MOLECULAR BIOLOGY TECHNIQUES IN ROUTINE DIAGNOSTICS OF VIRAL INFECTIONS
QUALITATIVE DETECTION
Detection of Disease Agent (e.g. HEPATITIS C virus)
Screening Investigation (sexually transmitted infections– Human Papillomaviruses)
Confirmation of serological testing (Hepatitis viruses)
Amplification for following genotyping
QUANTITATIVE DETERMINATI- ON OF VIRAL LOAD
Disease Prognosis
Therapy Monitoring – determination of antimicrobials effect
Diagnostics of chronic dormant infections
Resolution of severity of infections
caused by facultative pathogens
DotBlot tests are used both for genotyping and determination of drug sensi- tivity/resistence. For epidemiological and forensic reasons genome sequencing techniques are being used, genetical techniques are to be used also in recombinant vaccines preparation.

## Slide 35: MASS SPECTROPHOTOMETRY BRUKER MALDI-TOF

## Slide 36: MASS SPECTROPHOTOMETRY BRUKER MALDI-TOF MS Biotyper

## Slide 37: INDIRECT DETECTION OF MICROBIAL INFECTIONS
SEROLOGICAL METHODS
IN FACT, THESE INVESTIGATION TECHNIQUES ARE NOT NAMED VERY ACCURATELY: THEY ARE USED TO DE- TECT SPECIFIC VNTIBODIES TOWARDS ANTIGENS OF MICROBES CAUSING DISEASES, in following samples:
Serum Plasma Cerebrospinal Fluid Urine Mucoid Membra- ne Secretions
BUT THE MOST FREQUENT SPECIMEN ARRIVING TO SUCH LABORATORY IS full coagulated blood, from which SERUM is separated.
Serological tests are based on dynamics of antibody forma- tion in the organism of microbial host. Classic tests detect specific antibody titre movement in paired serum samples when interval in both samples collection is 7 to 21 days.

## Slide 38: HIT – HEMAGGLUTINATION INHIBITION TEST
Classic Serological Test based on Antigene (Hemagglutinin) Ability to agglutinate red blood cells and specific antibody binding to appropriate antigene
If chicken RBC are added to suspension containig influenza virus, RBC will agglutinate.
If viral suspension has been incubated with serum sample containing more or equal antibodies to hemagglutinin, antobodies bind to antigene and hemagglutinin is not able to agglutinate RBC, so HEMAGGLU- TINATION IS INHIBITED.
Test is usable for detection of antibodies specific to viruses having hemagglutinin
INTERPRETATION - RUBELLA TEST Row 1 –titre 1:2, row 2: 1:32 – POSITIVE
Row 3 – 1:8, row 4: 1:8 - NEGATIVE
CONTROLS: 8th column – RBC control, Row 6: POSITIVE 1:32, row 7 NEGATIVE

## Slide 39: CFR – COMPLEMENT-FIXING REACTION

## Slide 40: CFR – COMPLEMENT-FIXING REACTION
Despite relatively high hands-on time Complement-fixing test is widely used in viral diagnostics. It requires Complement Pretitration and and Serum Sample Pretreatment and running of 4 controls for different reagents.
Activation of Complement is considered as additional fortifying mechanism of the host´s immune response to invasion of infectious agents, maximum complement fixing antibodies formation is at the begining of infection. Therefor, one week
interval between collection of paired samples is pretty enough.
This fact made CFR the first test in history of selological diagnostics providing valuable result to influence the design of therapy.
INTERPRETATION:
Row 1: titr 1:16, Line 2: 1:16 – NEGATIVE
Row 3: negative, Row 4: 1:16 –POSITIVE
Row 5: 1:4, Row 6: 1:4 – NEGATIVE
Row 7: 1:8, Row 8: 1:16 – non-significantTitre
CONTROLS: Row 1 and 2. – Complement, Row 3 – erytrocyes, Row 4 – Haemolytic System

## Slide 41: NEUTRALISATION TEST
Neutralisation reaction
Was performed using experimental animals or cell cultures
The main advantage of this test is detection of truly protective antibodies, e.g. antibodies playing main role in immune response to infection.
Disadvantage of this test is high time and financial requirement.
To significant limitation of use of these tests contributed also protests of ecological activists in the 7th, 8th and 9th decade of the 20th century, especially in the UK.

## Slide 42: INDIRECT IMMUNOFLUORESCENCE
Rapid diagnostic technique based on detection of specific immunoglobulin classes IgM,IgG a IgA.
Antigenic substrate is cell culture with cca 50% of infected cells fixed on glass slide.
Serum sample is placed over the antigenic substrate and incubation in wet chambre follows. During incubation specific antibodies bind on antigen.
After washing the slide in order to get rid of unbound compounds, conjugate (antibody against human IgM,(IgG, IgA) labeled by fluorofor (FITC) is placed on slide and incubation follows.
If specific antibodies were present in a serum sample and have bound on antigenic substrate, conjugate binds on them during incubation.
After next washing, the slide is stained by Evans blue (diluted 1:20 million) and cover slide is mounted using TRIS.
After 10 minute stabilizing, the slide is observed in fluorescent microscope (magnification 450x)
The technigue is fast, sensitive, specific, but requires high skill of reading professional.

## Slide 43: Enzyme Linked ImmunoSorbent Assay
ENZYME LABELLED CONJUGATE)
Most-frequently used sandwich configuration of ELISA test
Colourless substrate
Colour
product
Anibody (seeked in serum)

## Slide 44: ELISA
Modern diagnostic technique based on detection of specific immunoglobulins classes – IgM, IgG and IgA - as markers of infection
There are different formates of this technique – microwell plate, tube or automated analyser quivetts, most often as sandwich, but also as m-capture assays for capture of pure IgM fraction.
Here is an example of sandwich ELISA micro- well plate format using TMB (tetramethyl benzidin) detection substrate. Reaction stopped by 20% H2SO4 .Photometric reading at 450 nm. Cut off value of extreme importance.
Sometimes, another value can be used: reaching this extinction, the reult is considered positive.
Borderline and in case of certain pathogens (HIV, HCV) also samples positive for first time are reported reactive until confirmed as positive.

## Slide 45: IMMUNOBLOT (WESTERN BLOT)

## Slide 46: INTERPRETING SEROLOGICAL TESTS
INTERPRETING OF SEROLOGICAL REACTIONS RESULTS REQUIRES KNOWLEDGE OF ANTIBODIES AMOUNT IN SERUM SAMPLE. THIS DETERMINES ANTIBODY TITRE
(CONVERTED VALUE OF THE HIGHEST SERUM DILUTION, IN WHICH ANTIBODIES WERE DETECTED).
SERUM DILUTION EXAMPLES
FOR TITRE DETERMINATION
LOGARITMIC DILUTION
DOUBLED DILUTION

## Slide 47: INTERPRETING SEROLOGICAL TESTS
GUIDELINE FOR SIGNIFICANT EVALUATION OF RESULTS OF CLASSIC SEROLOGICAL REACTIONS (HIT, CFR, Paul-Bunnel): TEST IS POSITIVE, IF ANTIBODY TITRE IN THE CONVALESCENT (second) SERUM SAMPLE IS AT LEAST FOUR TIMES HIGHER THAN IN THE FIRST COLECTED ONE.
IF IN BOTH OF PAIRED SAMPLES, HIGH TITRES OF SPECIFIC ANTIBODIES WERE DETECTED, IT IS WISE TO RELATE THE RESULTS TO CLINICAL STATUS OF THE PATIENT. RESULT MAY BE POSITIVE EVEN IF THERE IS NON-SIGNIFICANT INCREASE OF TITRE.
PACIENT | TITRE 1st SAMPLE | TITR 2nd RESULT SAMPLE
A.A | 1:8 | 1:128 POSITIVE
B.B. | 1:16 | 1:16 NEGATIVE
C.C. | 1:2 | 1:32 POSITIVE
D.D. | 1:32 | 1:256 POSITIVE
E.E. | 1:256 | 1:512 non-significant

## Slide 48: INTERPRETING SEROLOGICAL TESTS
If only specific IgG immunoglobulins were detected, it means, that the host organism has already met the antigen (but we do not know, when). It is necessary to determine and compare antibody titre in paired serum samples (collected in 10 to 20 days interval)
Constant titre level – anamnestic antibodies
Titre increase – reaction on acute infection
Titre decrease – convalescent period

## Slide 49: INTERPRETING SEROLOGICAL TESTS
Specific Immunoglobulins of IgM-class are formed immediately after meeting the antigen. From the diagnostic point of view, they may be considered as a marker of acute infection.
Detection of specific IgM immunoglobulins means, there is actual active infection in the host
In infections localised on mucoid membranes, as a marker of active infection, specific IgA immunoglobulins detection may be considered

## Slide 50: Evaluating serological reactions
ELISA techniques have fotometric evaluation
Very important role plays the cut-off value
Some test systems for more accurate determination of positive results use „low positive control“ .
Routine diagnostics rule: low-positive serum, in certain cases also serum positive for the first time, is considered to be reactive, until the result has not been confirmed by another test.

## Slide 51: IMMUNOBLOT TECHNIQUES (Western Blot)
For detection of specific IgM, IgG or IgA are generally more sensitive compared to ELISA. Therefor, they serve as confirmation tests.
Under certain circumstances, even immunoblot technique may provide indeterminate result!
Eventhough in majority of blot tests the results can be evaluated by eye, sofisticated automated evaluating systems (programs) were developed.

## Slide 52: CONDITIONS FOR SUCCESSFUL LABORATORY TESTS:
PROPER COLLECTION:
Material suitable for indicated laboratory analysis
Typical collection site
Good sample collection technique
Suitable collection kit
Guarranteed immediate transport to the lab
PROPER DESCRIPTION AND SAMPLE IDENTIFI-CATION:
ID sticker on the sample tube/container
Filled-in form containing patient´s identification data, doctor´s and hospital/office ID description of sample colected, date and time of collection, preliminary („working“) diagno- sis and indication of all tests required

## Slide 53: SPECIMEN COLLECTION MISTAKES PREVENTION
Sample collection guidelines in extenso are published in Diagnostic Laboratory Manual. Accredited laboratories have also Guidlines for Collection Sites Service.
Certain laboratories accredited following ISO EN 15189:2008 guarrantee also sample collections made outside their own collection offices bz providing SOG to their customers }doctor office, hospitals and regularly auditing them.
Distribution of sample collection kits equiped bz instruction leaflets pictograms, guidlines
(SOG = standard operation guidlines)

## Slide 54: FREQUENT MISTAKES IN SAMPLE COLLECTION
Improper Sample Collection Kit
Collection of non-typical part of material (sample)
Improper or unreadable description (missing sticker, missing or insufficient data)
Storing tubes with collected samples in other than vertical position
In open collection systems tube after collection not immediately closed or improperly closed collection tubes
Storing tubes with colected samples in unsuitable places (e.g. Window ledges)

## Slide 55: FREQUENT MISTAKES AND DISORDERS
Warning case: tube with blood sample, leaking round the top, wrapped in the list of identification
Missing, partial, improper or unreadable data:
Missing time of collection
Missing info on speialisation of indicating physician
Missing, incomplete or improper patient´s ID number
Missing or improper Insurance Company code
Missing patient´s actual („working“) diagnosis (code)
Missing or unreadable doctor´s office stamp, doctor´s name etc.

## Slide 56: POSSIBLE RISKS DURING TRANSPORT
Mechanical damage of sample containers (tubes) resulting from falling, shakes, strokes and crashes
Exposing to temperature over 24 °C (in hot days inside the vehicle parked at car-park)
Exposing to frost in cold winter days inside the vehicle at car-park
Exposing to sun-light inside the vehicle at car-park
Transport of sample containers/tubes in other than recommanded position
Breaking maximum time between sample collection and laboratory investigation as result of coincidence of unbenefitable consequences

## Slide 57: TRANSPORT VEHICLE EQUIPMENT
Transport area should guarrantee continuous room temperature, which in no case exceeds 24°C (air-conditioned cat/van, container)
Inside: refridgerated area 4 – 8°C for samples requiring lowtemperature during transport
Isolated container with ice, dry solid CO2, or freezer with guarranteed temperature -20°C
Temperature controlled by maximum-minimum therometer in all storing compartments (areas), chilling aggregate independent of the vehicle moving engine
Specialised transprorting vehicles

## Slide 59: CLOSED COLLECTION SYSTEMS FOR BLOOD
COLLECTION SYSTEM
For collection of all blood samples so called CLOSED COLLECTION SYSTEM is used. Advantages of this system:
Complete barrier between collected blood and environment, incuding personnel, decreases the risk of contamination of collecting area, sample manipulation is safer and easier. Collection office and its personnel are better protected
Guarranties proper sample collection technique, minimalises risk of sample damage and repeated sample collection
Systém enables multiple collection into different sample tubes from one itch (venepunction) haemostatic valve prevents blood leakage when changing
Tubes for haemocoagulation
Specially prepared collection tubes (with gel, anticoagulants etc.)
Additional Helpfull Officeware: plastic tubes, plastic cups, turnicets, stickers, cellulose pads

## Slide 60
During assembly of this preseńtation pictures, graphs and schemes from following public educational sources were used:
Medical microbiology. Ed. S. Baron, Third Edition, Churchill Livingstone Inc.
1991
Introduction tp medical microbiology, Third Edition, J.L.Ingraham, C.A.
Ingraham. Thomson learning, 2004.
Manual of clinical microbiology. Ed.Ellen Jo Baron…(et al.). 8th ed. ASM
Press 2003.
Fraňková V.: Základy lékařské mikrobiologie pro posluchače bakalářského
studia. Učební text –nepublikováno.
Shorts Teri: Understanding Viruses Jones and Bartlett Publishers 2009
Julák J., Pavlík E.: Mikrobiologie pro zubní lékařství Karolinum Praha 2010
Prokešová a kol.: Imunologické mechanismy a obrana proti infekci. SPN
Praha. 1989
www.abcam.com
Flint S.J. et al.: Principles of Virology ASM 2005
www.roche.com
www.gbo.com