## Slide 1: Experimental methods for studies of ion – molecule reactions and of ion – electron recombination

## Slide 2: Time dependence of the value of recombination rate coefficient for H3+ ions with electrons
Not a simple problem

## Slide 3: Different experiments
Ion Storage Ring
Afterglow plasma
+ No buffer gas
+ Excellent energy resolution
Complicated estimation of cross section from measured data
Rotational temperature of ions in the ring can be >= 300 K
+ Many collisions of ions with buffer gas particles – effective thermalization
+ The measured quantity is thermal rate coefficient
Complicated chemical kinetics
Presence of third bodies can influence the recombination

## Slide 4: Ion storage ring
Figure 1: Design model of the CSR showing the electrostatic ion optical elements (enlarged in circuits), the injection line, the electron cooler (straight section at the right side) and the reaction microscope (straight section at the left side)
(A) Scheme of the CSR ring structure with the injected and stored HeH+ ion beam (red), merged electron beam (blue), reaction products (green), and particle detector. (B) Reaction scheme and position-sensitive detection of coincident fragments. (C) Equilibrium rotational state populations of HeH+ for previous studies (300 K) and the estimated radiation field in the CSR.

## Slide 5: Recombination of ions in specific quantum state

## Slide 6: Rekombination of H3+ ions with electrons
Neutral assisted ternary recombination:
Electron assisted ternary recombination:
Formation of H5+ and its subsequent recombination with electrons:
Glosík J., Dohnal P. et al., Plasma Sources Sci. Technol. 24(6), 065017, 2015

## Slide 7: Stationary afterglow plasma
Combination of Stationary afterglow and absorption spectroscopy

## Slide 8: Stationary afterglow plasma
AISA – Advanced Integrated Stationary Afterglow
Mass spectrometer + Langmuir probe diagnostics
Phys. Rev. Lett., 88 (4): Art. No. 044802 (4 pages), 2002.

## Slide 9: Stationary afterglow plasma
Microwave diagnostics + mass spectrometry

## Slide 10: Mass spectrometry
Glish et al., Nature Reviews Drug Discovery 2, 140, 2003

## Slide 11: Mass spectrometry
Proton transfer mass spektrometry (PTR-MS)
Proton affinity of water is 691 KJ/mol

## Slide 12
Proton affinities from NIST Chemistry Webbook
Proton affinity of water is 691 KJ/mol

## Slide 13: Mass spectrometry
For liquids etc:
ESI – Electron Spray Ionisation
ACPI – Atmospheric Pressure Chemical Ionisation
MALDI – Matrix Assisted Laser Desorption/Ionisation
Glish et al., Nature Reviews Drug Discovery 2, 140, 2003

## Slide 14: Mass spectrometry

## Slide 15: Mass spectrometry
Glish et al., Nature Reviews Drug Discovery 2, 140, 2003

## Slide 16: Mass spectrometry

## Slide 18
Mathieau (stability) diagram

## Slide 19
Microwave diagnostics of plasma
Plasma permitivity

## Slide 20: Microwave diagnostics of plasma
Collisionless plasma
Real part non-zero for any non-zero ε2 (collisions). With collisions some propagation still exists but with strong atenuation under the theoretical cut off frequency
Jan Faltýnek, Microwave diagnostics of plasma and materials, Ph.D. Dissertation

## Slide 21
Microwave diagnostics of plasma
Plasma conductivity
Change of resonant frequency and resonator quality:
Plasma frequency

## Slide 22: Microwave diagnostics of plasma
Sicha et al., Czech. J. Phys. B 20, 684, 1970
From the shift of resonant frequency we can get electron number density

## Slide 23: Microwave diagnostics of plasma
Electron number density measurement

## Slide 24: Microwave interferometry
Jan Faltýnek, Microwave diagnostics of plasma and materials, Ph.D. Dissertation
Phase shift induced by plasma is measured

## Slide 25: Microwave reflectometry
Utilising reflection of microwaves to find cut off frequency

## Slide 26: SA-CRDS apparatus
CRDS – Cavity Ring Down Spectroscopy
SA – Stationary Afterglow
Highly reflective mirror
  Discharge tube diameter– 1.5 cm
  He buffer gas flow ~ 400 – 1600 sccm
  Pressure ~ 200 – 1500 Pa
  Temperature range ~ 77 – 300 K

## Slide 27: Cavity ringdown spectroscopy
First used for mirror reflectivity determination (Herbelin et al. 1980).
Later, the dependence of ring-down time on absorption between the mirrors was observed (O‘Keefe et al. 1988)
Herbelin et al., Appl. Opt. 19, 144, 1980.
O‘Keefe et al., Rev. Sci. Instrum. 59, 2544, 1988.
Highly reflective mirrors by Layertec (diameter 6.3 mm, reflectivity R = 99.99 %)

## Slide 28: SA-CRDS
The time evolution of ion number density is measured (of particular quantum states)
Kinetic temperature can be determined from Doppler broadening of absorption lines
Rotational temperature is given by relative populations of rotational states

## Slide 29: Cryo-SA-CRDS

## Slide 30: Cryo-SA-CRDS

## Slide 31: Cryo-SA-CRDS
Plašil, R; Dohnal, P; Kálosi, Á; Roučka, Š; Shapko, D; Rednyk, S; Johnsen, R; Glosík, J, Rev. Sci. Instrum., 89: 063116, 2018.

## Slide 32: H3+ (again)
The lowest rotational states of the vibrational ground state
Para
Ortho
I = 1/2
I = 3/2

## Slide 33: Cryo-SA-CRDS
At 30 K, we can change the population of the of the lowest state of H3+ from 40% to 80% of all ions. The rest of the ions are mainly in the (1,0) state.

## Slide 34: Rekombination of H3+ ions in specific quantum state

## Slide 35
Combination of CRDS and microwave diagnostics

## Slide 36: Studied ion is not dominant in plasma

## Slide 37: Flowing afterglow plasma

## Slide 38: Flowing afterglow plasma

## Slide 39: FALP, SIFT, SIFDT
FALP – Flowing Afterglow with Langmuir Probe
SIFT – Selective Ion Flow Tube
SIFDT – Selective Ion Flow Drift Tube

## Slide 40: FALP, SIFT, SIFDT
FALP – study of electron – ion recombination
SIFT – study of ion – molecule reactions
Measurement of ion mobility

## Slide 41: Cryo-FALP II
  Cryogenic Flowing Afterglow with Langmuir Probe
  Flowtube diameter – 5 cm
  He buffer gas flow ~ 2500– 6000 sccm
  Pressure ~ 200 – 2000 Pa
  Temperature range ~ 40 – 300 K

## Slide 42: Cryo-FALP II
The evolution of electron number density along the flowtube (i.e. in time) is measured
It is possible to determine the electron energy distribution function and their temperature

## Slide 43: Recombination of Ar+ ions with electrons, dependence on ne
Kotrík T., Dohnal P., Roučka Š., Jusko P., Plašil R., Glosík J., Johnsen R., Phys. Rev. A 83, 032720, 2011.
Kotrík T., Dohnal P., Rubovič P., Plašil R., Roučka Š., Opanasiuk S., Glosík J., Eur. Phys. J.-Appl. Phys. 56, 24011, 2011.

## Slide 44: Recombination of Ar+ ions with elekcrons, dependence on helium pressure
Dohnal P., Rubovič P., Kotrík T., Hejduk M., Plašil R., Johnsen R., Glosík J., Phys. Rev. A 87, 052716, 2013.

## Slide 45: Calibration of Langmuir Probe
Rekombination of O2+ ions with electrons is a well known process (many studies in last 50 years)
Three body (helium assisted) recombination is at given conditions negligible
The goal is to determine the electron number density with the best possible precision