VMFT- DSC								13/03/2026

Students:	arian

Instrument:	Maia DSC 200 F3

Sample: Resomer RG

Crucible + sample mass:			???	mg

Crucible mass:				???	mg

Sample mass:				???	mg

Temperature protocol:

DSC scan:

Procedure of measurement and evaluation:

Firstly we measure the sample mass then we insert it to the DSC and we measure the melting point Tm based on first heating  peak point.

Conclusion: The melting point is 164.1°C.