VMFT- DSC								13/03/2026

Students:	arian

Instrument:	Maia DSC 200 F3

Sample: Resomer RG

Crucible + sample mass:			???	mg

Crucible mass:				???	mg

Sample mass:				???	mg

Temperature protocol:

DSC scan:

Procedure of measurement and evaluation:

Firstly we measure the sample mass then we insert it to the DSC and we measure the glass transition temperature Tg based on curve of the second heating in inflection point. The speed of heating is 10 K/min.

Conclusion: The glass transition temperature is 42.5 °C.